Prevent fire

Are all parts of the premises kept clear of waste and rubbish?

- Attics and basements?

- Boiler rooms and other plant rooms?

- Bottoms of lift shafts?

- Staircases and under the stairs?

- Store rooms?

Smoking:

- Smoking is not permitted inside the premises, are smokers using the designated smoking area(s) / shelter(s)

- Are substantial ashtrays provided in all the areas where smoking is permitted?

- Employees warned to use the ashtrays and not to throw cigarettes or matches into wastepaper receptacles, through gratings or out of windows?

Electricity:

- Do all parts of the electrical installation comply with the institute of electrical engineers regulations for electrical installations?

- Is the electrical installation inspected and tested at least every five years?

- Employees trained to report frayed leads and faulty equipment?

- If you do not have central heating, are heating appliances: Fixed rather than portable? Are they provided with adequate and secure fireguards?

- Employees warned to keep combustible materials away from heaters?

- Is special care taken with portable heaters:

  - Are they used as little as possible?

  - Are they put where they are not likely to be knocked over?

  - Are they convector heaters in preference to radiant types?

When work ceases:

Are checks made to ensure?

- Electric, gas and oil equipment not required to operate overnight is switched off? Equipment in use overnight is safe?

- Electric typewriters, copying machines and other equipment having flexible cables, are unplugged?

- No cigarettes are left smouldering?

- Fire doors and smoke stop doors are closed?

- Windows are closed, outside doors locked and the premises are secure against intruders?

If fire breaks out:

- Are there instructions detailing the action to be taken by staff on discovering a fire and when warning of a fire is given?

- Do employees know these instructions?

- Are there means of warning all employees and other occupants of the building when a fire is discovered?

- Has a responsible official been appointed in each office or on each floor to supervise the action to be taken when fire breaks out?

Fire fighting:

- Are portable fire extinguishers and/or hose reels provided in clearly visible and readily accessible places throughout the premises?

- Are they maintained at regular intervals?

- Are employees familiar with their use?

Fire Drill

Instructions to all staff on discovering fire:

- Raise the alarm by using the manual fire alarm system or by reporting immediately the manager or a senior member of staff.

- Call for assistance and attack the fire with the fire-extinguishing equipment provided, but only if it is safe to do so.

On hearing the fire alarm either:

- Leave the premises and report immediately to the assembly area.

- Do not stop to collect personal belongings.

Notifying the Fire Brigade:

On being notified of an outbreak of fire:

- Call the brigade immediately by dialling 999 (don't forget 9 for an outside line if required).

- Sound the fire alarm or pass on the order to evacuate the premises. Notify the manager or a senior member of the staff.

- Warn other departments in the building that fire has broken out (the kitchen, the cellar etc).

Action by management:

On being notified of an outbreak of fire the manager or a senior member of staff should:

- Ensure that the fire brigade has been called.

- Clear everyone, except those actually engaged in the fire fighting, from the immediate vicinity of the fire.

- Order the evacuation of the building, check customer toilets are clear of customers.

- Take a roll call of all staff when the premises have been evacuated (say, from your staff rota sheet). In a larger pubs this should normally be done by the head of each department (kitchen, restaurant, function room).